Pollution of the Tigris River

- Audit objective: measure sufficiency and efficiency of the Tigris River.

- Applicable standards:

- Ministry of Health's law and regulations.

- Environmental legislations established by the Directorate of Environment Protection and Improvement.

- Rivers and public waters maintenance regulation No. 25 (1967).

- World Health Organization's determinants.

- Methods of audit in practice:

- Conducting compliance method-based audit.

- Conducting technical test method-based environmental audit.

- Tigris water control responsibility:

The law of environmental protection and improvement no. 27 (2009) specified the protection methods of water pollution by prohibiting the following:

- Discharging any domestic, industrial, service or agricultural liquid wastes into surface or underground inland resources, or into Iraq’s marine areas, only if necessary treatments have been made to ensure their conformity with the specifications set in the national environmental regulations and relevant Iraq-binding international conventions. These specifications include all discharges, whether continuous, discontinuous or temporary, as well as taking the necessary procedures to prevent pollution to reach the marine area from land whether by water, air, from coast or ships and aircrafts.

- Connecting plant sewage pipelines or other activities to rain water drainage system.

Discharge solid wastes or animals’ wastes or remains into water resources.

d. using poisonous materials and explosives in  fishing and hunting marine animals and birds .

e. oil wastes , remains of fuel or dumping  ballast water of oil tankers into inland  surface water or Iraqi marine regions whether the drainage   be from stable or mobile sources  or the spills caused by loading processes .

f. any operations that cause pollution of surface water due to exploiting the banks only after obtaining the approval of competent authorities.

5. Reason for selection

The reason behind selecting the subject matter of the audit is the importance of water as the main component of life due to its multiple uses namely (drinking, home use, irrigation, tourism uses and the like).The Tigris was chosen as a case study .The audit objectives and standards are to check out types and loads of pollution to see if they are in conformity with international and national standards. Compliance and technical audit methodology is adopted to see how entities concerned comply with standards and specifications used in discharging waste into rivers.

6. Review

The Tigris is one of the most important water recourses of Iraq due to the huge annual water revenues and the fact that most of the population depend on the Tigris .1415 km (i.e. 74%) of the 1900 km –long-Tigris runs through Iraqi land. Along the few last years, the Tigris has been witnessing changes in water quality and quantity as Turkish government is constructing dams an action which led to lessening Iraq’s share of water.

The low water levels and the sewage dumped directly into water   without treatment cause a significant change in water quality.

7. Causes of Pollution:

a. as the river runs through most Iraqi major cities like Baghdad, it becomes the final station for direct discharge of industrial and service liquid pollutants without appropriate treatment such as those discarded from (oil refineries, production industries, electric stations, hospitals and sanitation water stations. This led to an increase in pollutant concentration rates of heavy elements such as: cadmium, silver, sulfur, biological pollutants, thermal pollution, increase in chlorides, water hardness, sulphate and dissolved concentration rates as compared to natural concentrations i.e. the concentrations at first entry point of Iraqi lands according to rivers maintenance regulation No. (25) for (1967) (amended) that considers these enter concentrations are the standard ones. Yet, we noticed a high- level increase rates as compared to those at the entry point. This indicates discharging pollutants in the river without complying with the environmental legislations stipulated that any liquid wastes must not d00e discharged unless appropriately treated and according to each activity. Table No. (1) attached shows lab tests results of samples taken from the river in Baghdad, while table No. 92) illustrates the increase of concentration rates from the allowed determinants.

b. Encroachments by some citizens and stores owners by illegally connecting the general sewerage network to rain water drainage network and then discharged directly to the river. This led to an increase in the river’s biological pollution rates.

c. Absence of legal procedures taken against the wrongdoers who directly discharge the waste to the river caused an increase in pollution rates.

8. Remedies

Subsequently, we can see how serious the environmental situation of the Tigris is, which lead us to develop some remedies which we expect to contribute to remedy this deterioration in the environmental situation, including

a. Expanding and developing the treatment units for liquid wastes which are currently exist in all sectors. Setting up new treatment units for the various activities belonging to the ministries concerned with the Tigris pollution and lack of those units.

b. Providing required equipments for measuring and control pollutants in water exposed to activity and resulted from it.

c. Providing specialized technical personnel to operate and maintain treatment units to conduct the required measures and tests.

d. Discussion and development of articles the provisions of public water and rivers maintenance regulation (25) for 1967 to include the determinants system of drains and marshes. Developing the determinants of sawage discharges to include a number of other key determinants of pollutants.

9. Conclusions:

The Tigris is polluted with chemical variables and the quality of the drawn water from the Tigris is incongruent to the environmental determinants of rivers maintenance regulation no. (25) for 1967 due to the existence of drainages  on  the riverbanks of the Tigris that discharge wastewater directly into the river without treatments, in addition to the existence of many unknown discharges.

Spread and growth of reeds at the riverbanks, which sometimes hamper locating some drainages as these drainages are covered by reeds.

level of the river depth is varied in general, where sometime reaches reach to a depth of (2.5) meters.

d- Existing processes of river dredging in limited areas, this process requires intensive efforts in order to clean, deepen and widen the river to facilitate its flow, subsequently decreasing the amount of biological oxygen consumed (BOD5) and improving the quality of the water of river.

10- Recommendations:

In order to secure sound environment for the Tigris, we recommend the following:-

- Obliging all entities concerned with pollutant activities on water recourses to provide and install integrated treatment units so as to treat liquid wastes, and to ensure conformity with environmental areas determinants.

- Due to importance of this process, Ministry of Water Resources  should dredge of the river to decrease pollution and improve water quality.

- The Ministries concerned (Foreign Affairs and Water Resources) should coordinate with countries sharing the river to increase water level of Tigris.

- Reviewing river and public waters regulations no. 25 of 1967 and its amendments and updating the allowed environmental determinants.

- Constructing a net of modern drains in Iraq to improve water quality and decrease salinity.

- Forbidding use of pesticides in fishing and using environmentally-safe pesticide to fight and protect plants.

- Installing central database under supervision the Ministry of Environment to detect pollution cases as fast as possible and put the required solutions.

- Expanding use of modern technologies concerning the circulating and using recyclable industrial wastes.

- Increasing environmental awareness through educational institutions and media to avoid wrong practices harmful to

- The environment and preparing training courses to promote scientific and environmental level.

- Installing guiding signs in specific locations at shores calling for river safety.

- Using modern technologies such as biological ones to treat water (method of plant technologies) to improve quality of river and decrease pollution rate.

Attached Table No. 1

Laboratory Tests Results of Samples Taken From Tigris In Baghdad

| Location/ checks | TDS | TSS | BODs | COD | CA | MG | CI | SO4 | NO3 | NA | K | O&G | DO | PO4 | PH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Medical city near surgery hospital | 594 | 380 | 5,7 | 58 | 82 | 41 | 78 | 190 | 2 | 43,9 | 3,5 | 0,2 | 7,8 | 0,5 | 7,8 |
| Under rain station T1 | 529 | 44 | 6 | 104 | 93 | 28 | 83 | 236 | 2,2 | 46,2 | 4,7 | 22,8 | 8 | 0,8 | 7,7 |
| In front of Abud al Mageed Hospital | 484 | 23 | 1,8 | 80 | 82 | 29 | 64 | 167 | 2,6 | 57 | 2,3 | 4,2 | 6,8 | 0,3 | 1,7 |
| Near silo | 488 | 110 | 5,3 | 85 | 82 | 30 | 55 | 157 | 2,3 | 38 | 3 | 1,4 | 7,8 | 1 | 7,8 |
| In front of east Tigris project | 542 | 24 | 1,1 | 70 | 116 | 15 | 62 | 179 | 2,1 | 37,4 | 2,2 | 0,6 | 7,9 | 0,6 | 7,3 |
| Al shab sewage station | 424 | 24,5 | 1,4 | 60 | 71 | 24 | 57,9 | 90 | 1,8 | 39,4 | 1,9 | 1,2 | 7,5 | 0,6 | 7,3 |
| Near al daura power plant | 496 | 30 | 1 | 71 | 75 | 30 | 114 | 193 | 1,9 | 50 | 2,5 | 0,2 | 8,2 | -- | 7,8 |
| South Baghdad thermal power plant | 576 | 36,5 | 2 | 45 | -- | -- | 64 | 170 | 3 | -- | -- | 0,4 | 7,7 | 1 | 7,7 |
| The environmental rates | -- | -- | Less than 5 | -- | -- | -- | 200 or more | 200 | 15 | -- | -- | -- | More than 5 | 0,4 | -6,5 8,5 |

| N# | SUBSTANCE | 2008 |  |  |  |  | 2009 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Tigris entry concentration |  | Tigris exit concentration | Increase | Increase percentage | Tigris exiting concentration | Tigris entry concentration |  | Increase | Increase percentage |
| 1 | Chlorides | 30.17 | 480.7 |  | 810.53 | 2686.5 | 29.72 | 545.35 | 515.63 |  | 1734.95 |
| 2 | Water hardness | 198.3 | 836.5 |  | 838.2 638.2 | 321.83 | 207.27 | 726.4 | 519.13 |  | 250.46 |
| 3 | Sulfurs | 56.2 | 567.9 |  | 511.7 | 910.5 | 46.25 | 379.3 | 333 |  | 720 |
| 4 | Solids | 255.4 | 2187.9 |  | 1932.5 | 756.6 | 238.5 | 1889.4 | 1650.9 |  | 692.20 |

ATTACHED TABLE NO.(2)

| INCREASE OF CONSENTRATIONS RATES THAN PERMITTED DETERMINATS THROUGHOUT THE TIGRIS N# | SUBSTANCE | 2010 |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Tigris entry concentration | Tigris exit concentration | increase | Increase percentage |
| 1 | Chlorides | 27.44 | 359 | 331.56 | 1208.31 |
| 2 | Water hardness | 184.58 | 505 | 320.42 | 173.59 |
| 3 | Sulfurs | 49.72 | 291.58 | 241.86 | 486.44 |
| 4 | Solids | 239.8 | 1362.64 | 1122.84 | 468.24 |